## Sheet1
Assignment sheet for MP1 Wind Power course 2026
Input parameters:
| Födelse dat | 4 dig |  |  |  | k-factor | Avg U10 | Rough- | Down- | DiaT | Hh | Cp [-] | Efficiency | Zo | Nz Wind | Rat.wind speed | Cut out | Rat.Pow | Cut-In | Generated | AvgPow | FullLh | AeroD Ld | Solidity | Storm load | Wall t Op | Wall t Storm |  | Klar?
[6 empty] | Weibull dist | i.e @10 m | ness | time | Diameter | Height | Capture | drivetrain |  | Wind at Nacell | [7 empty] | tower |  |  |  |  | Rättat i
Student: \ Unit: |  |  | Year | Month | Day | [-] | [m/s] | [mm] | [%] | [m] | [m] | efficiency | [-] | [m] | [m/s] | [m/s] | [m/s] | [kW] | [m/s] | [MWh] | [kW] | [h] | [kN] | [%] | @60 [kN] | [mm] | [mm] | Studium
Hans Bernhoff | 19990315 | 1234 | 1999 | 5 | 3 | 1.6 | 5.42 | 15 | 2 | 37 | 44 | 0.49 | 0.855 | 0.015 | 6.655 | 11 | 18 | 374.7258 | 2.3699 | 1019.7695 | 116.412 | 2721 | 69.3869 | 3 | 104.5104 | 10.0393 | 15.1212
|  |  | 0 | 0 | 0 | 1.1 | 5.26 | 0 | 2001 | 31 | 37 | 0.54 | 0.94 | 0 | #DIV/0!
|  |  | 0 | 0 | 0 | 1.1 | 5.26 | 0 | 2001 | 31 | 37 | 0.54 | 0.94 | 0 | #DIV/0!
|  |  | 0 | 0 | 0 | 1.1 | 5.26 | 0 | 2001 | 31 | 37 | 0.54 | 0.94 | 0 | #DIV/0!
|  |  | 0 | 0 | 0 | 1.1 | 5.26 | 0 | 2001 | 31 | 37 | 0.54 | 0.94 | 0 | #DIV/0!
[6 empty] | k-factor | avg U10 | Roughness | Downtime | DiaT | Hh | Cp | Äta | Zo | Nz Wind | Rat.wind speed | Cut out | Rated Pow |  | GenE | AvgP | FLh | AeroD Load Tower | Solidity | Storm load | Wall t Op | Wall t Storm
[6 empty] | 1.6 | 5.42 | 15 | 2 | 37 | 44 | 0.49 | 0.855 | 0.015 | 6.655 | 11 | 18 | 374.7258 | 2.3699 | 1019.7695 | 116.412 | 2721 | 69.3869 | 3 | 104.5104 | 10.0393 | 15.1212
[20 empty] | MWh | kW | h
Grönt namn = presentation godkänd
Avbokad eller NO-Show
Blått nam = pres U | [24 empty] | §

## Weibul (2)
Rated | 11 | Param k | 1.6 |  |  | Down time | 2 | Weibul distribution med parameter k och c |  |  |  |  | P(u)=k/c*(u/c)^(k-1)*Exp(-(u/c)^k) |  |  | Elevation correction
Cut out | 18 | AVG V= | 6.655 | Availb: | 0.98 |  |  | Där c kan bestämmas från medelvind w: |  |  |  |  | c=w*(0,568+0,433/k)^(-1/k) |  |  | Elev in wind data | 10 | m | Hub height | 80 | [m]
Cut in | 2.3 |  |  | Hours | Avail. | Energy/sqm | Cum. Eng. | c = | 7.4288 |  | kWh | E/m^2 |  |  |  | Z0 | 50 | 0.05 | U corr fact | 1.3925
Dia | 37 | Wind | Dist | h/year | h/year | kWh/m2 | kWh/m2 |  | Rated |  | Energy Gen | kWh/m2
Äta*Cp | 0.41895 | 1 | 0.062101 | 544.0063 | 533.1262 | 0.33728 | 0.33728 | 0.33728 |  |  | 0 | 0
Rated Pow | 371.728 | 2 | 0.086709 | 759.5688 | 744.3774 | 3.7675 | 4.1047 | 4.1047 | 2 | 2 | 0 | 0 |  |  |  | Zo correction
Rated Pow | 374.7258 | 3 | 0.098886 | 866.2379 | 848.9131 | 14.5008 | 18.6056 | 18.6056 | 3 | 3 | 6532.0298 | 6.0751
|  | 4 | 0.10247 | 897.6353 | 879.6826 | 35.6182 | 54.2237 | 54.2237 | 4 | 4 | 16044.5338 | 14.9222
|  | 5 | 0.099893 | 875.0628 | 857.5615 | 67.8174 | 122.0411 | 122.0411 | 5 | 5 | 30548.9601 | 28.4121
|  | 6 | 0.093104 | 815.5928 | 799.281 | 109.2242 | 231.2653 | 231.2653 | 6 | 6 | 49201.0487 | 45.7595
|  | 7 | 0.083719 | 733.3775 | 718.7099 | 155.96 | 387.2253 | 387.2253 | 7 | 7 | 70253.6489 | 65.3395
|  | 8 | 0.07304 | 639.8304 | 627.0337 | 203.1077 | 590.3331 | 590.3331 | 8 | 8 | 91491.7664 | 85.092
|  | 9 | 0.062066 | 543.6995 | 532.8255 | 245.7413 | 836.0744 | 836.0744 | 9 | 9 | 110696.444 | 102.9533
|  | 10 | 0.051512 | 451.248 | 442.2231 | 279.7738 | 1115.8482 | 1115.8482 | 10 | 10 | 126026.6874 | 117.2112
|  | 11 | 0.041844 | 366.5572 | 359.2261 | 302.4903 | 1418.3385 | 1418.3385 | 11 | 11 | 136259.5743 | 126.7283
|  | 12 | 0.033323 | 291.9082 | 286.07 | 312.7387 | 1731.0772 | 1418.3385 | 11 | 12 | 106340.2305 | 98.9018
|  | 13 | 0.026049 | 228.1901 | 223.6263 | 310.8268 | 2041.904 | 1418.3385 | 11 | 13 | 83128.1421 | 77.3134
|  | 14 | 0.02001 | 175.2909 | 171.7851 | 298.219 | 2340.123 | 1418.3385 | 11 | 14 | 63857.3374 | 59.3906
|  | 15 | 0.015119 | 132.4417 | 129.7929 | 277.1342 | 2617.2572 | 1418.3385 | 11 | 15 | 48247.6373 | 44.8728
|  | 16 | 0.011244 | 98.4973 | 96.5274 | 250.1359 | 2867.3932 | 1418.3385 | 11 | 16 | 35881.9298 | 33.372
|  | 17 | 0.0082365 | 72.1514 | 70.7084 | 219.7776 | 3087.1708 | 1418.3385 | 11 | 17 | 26284.2983 | 24.4457
|  | 18 | 0.0059461 | 52.0879 | 51.0461 | 188.3413 | 3275.5121 | 1418.3385 | 11 | 18 | 18975.2627 | 17.648
|  | 19 | 0.0042327 | 37.0782 | 36.3367 | 157.6782 | 3433.1903 | 1418.3385 | 11 | 18 | 0 | 0
|  | 20 | 0.0029722 | 26.0369 | 25.5162 | 129.143 | 3562.3334 | 1418.3385 | 11 | 18 | 0 | 0
|  | 21 | 0.0020598 | 18.0436 | 17.6827 | 103.6031 | 3665.9364 | 1418.3385 | 11 | 18 | 0 | 0
|  | 22 | 0.0014092 | 12.3447 | 12.0978 | 81.4965 | 3747.4329 | 1418.3385 | 11 | 18 | 0 | 0
|  | 23 | 0.00095213 | 8.3407 | 8.1739 | 62.9184 | 3810.3513 | 1418.3385 | 11 | 18 | 0 | 0
|  | 24 | 0.00063551 | 5.5671 | 5.4557 | 47.7145 | 3858.0658 | 1418.3385 | 11 | 18 | 0 | 0
|  | 25 | 0.00041915 | 3.6717 | 3.5983 | 35.5697 | 3893.6355 | 1418.3385 | 11 | 18 | 0 | 0
|  | 26 | 0.00027324 | 2.3936 | 2.3457 | 26.0829 | 3919.7185 | 1418.3385 | 11 | 18 | 0 | 0
|  | 27 | 0.0001761 | 1.5426 | 1.5118 | 18.8252 | 3938.5437 | 1418.3385 | 11 | 18 | 0 | 0
|  | 28 | 0.00011223 | 0.98311 | 0.96345 | 13.3804 | 3951.9241 | 1418.3385 | 11 | 18 | 0 | 0
|  | 29 | 7.0741e-05 | 0.61969 | 0.6073 | 9.3704 | 3961.2946 | 1418.3385 | 11 | 18 | 0 | 0
|  | 30 | 4.4111e-05 | 0.38641 | 0.37869 | 6.4686 | 3967.7631 | 1418.3385 | 11 | 18 | 0 | 0
|  | 31 | 2.7215e-05 | 0.23841 | 0.23364 | 4.4035 | 3972.1666 | 1418.3385 | 11 | 18 | 0 | 0
|  | 32 | 1.6617e-05 | 0.14556 | 0.14265 | 2.9572 | 3975.1238 | 1418.3385 | 11 | 18 | 0 | 0
|  | 33 | 1.0042e-05 | 0.087964 | 0.086205 | 1.9599 | 3977.0838 | 1418.3385 | 11 | 18 | 0 | 0
|  | 34 | 6.0071e-06 | 0.052622 | 0.05157 | 1.2823 | 3978.3661 | 1418.3385 | 11 | 18 | 0 | 0
|  | 35 | 3.5578e-06 | 0.031167 | 0.030543 | 0.82849 | 3979.1946 | 1418.3385 | 11 | 18 | 0 | 0
|  | 36 | 2.0866e-06 | 0.018278 | 0.017913 | 0.52873 | 3979.7233 | 1418.3385 | 11 | 18 | 0 | 0
|  | 37 | 1.2119e-06 | 0.010616 | 0.010404 | 0.3334 | 3980.0567 | 1418.3385 | 11 | 18 | 0 | 0
|  | 38 | 6.9714e-07 | 0.006107 | 0.0059848 | 0.20776 | 3980.2645 | 1418.3385 | 11 | 18 | 0 | 0
|  | 39 | 3.9725e-07 | 0.00348 | 0.0034104 | 0.12798 | 3980.3925 | 1418.3385 | 11 | 18 | 0 | 0
|  | 40 | 2.2426e-07 | 0.0019645 | 0.0019252 | 0.077952 | 3980.4704 | 1418.3385 | 11 | 18 | 0 | 0
|  | 41 | 1.2544e-07 | 0.0010988 | 0.0010768 | 0.046954 | 3980.5174 | 1418.3385 | 11 | 18 | 0 | 0
|  | 42 | 6.9522e-08 | 0.00060901 | 0.00059683 | 0.027975 | 3980.5453 | 1418.3385 | 11 | 18 | 0 | 0
|  | 43 | 3.8185e-08 | 0.0003345 | 0.00032781 | 0.016489 | 3980.5618 | 1418.3385 | 11 | 18 | 0 | 0
|  | 44 | 2.0787e-08 | 0.00018209 | 0.00017845 | 0.009617 | 3980.5714 | 1418.3385 | 11 | 18 | 0 | 0
|  | 45 | 1.1216e-08 | 9.825e-05 | 9.6285e-05 | 0.0055509 | 3980.577 | 1418.3385 | 11 | 18 | 0 | 0
|  | 46 | 5.9989e-09 | 5.255e-05 | 5.1499e-05 | 0.0031713 | 3980.5802 | 1418.3385 | 11 | 18 | 0 | 0
|  | 47 | 3.1809e-09 | 2.7864e-05 | 2.7307e-05 | 0.0017936 | 3980.582 | 1418.3385 | 11 | 18 | 0 | 0
|  | 48 | 1.6722e-09 | 1.4649e-05 | 1.4356e-05 | 0.0010044 | 3980.583 | 1418.3385 | 11 | 18 | 0 | 0
|  | 49 | 8.7165e-10 | 7.6356e-06 | 7.4829e-06 | 0.00055696 | 3980.5835 | 1418.3385 | 11 | 18 | 0 | 0
|  | 50 | 4.5054e-10 | 3.9467e-06 | 3.8678e-06 | 0.00030587 | 3980.5838 | 1418.3385 | 11 | 18 | 0 | 0
|  | 51 | 2.3094e-10 | 2.023e-06 | 1.9825e-06 | 0.00016638 | 3980.584 | 1418.3385 | 11 | 18 | 0 | 0
|  | 52 | 1.174e-10 | 1.0284e-06 | 1.0078e-06 | 8.9653e-05 | 3980.5841 | 1418.3385 | 11 | 18 | 0 | 0 | k | 1.6 | 1,2-2,3
|  | 53 | 5.9191e-11 | 5.1851e-07 | 5.0814e-07 | 4.7861e-05 | 3980.5841 | 1418.3385 | 11 | 18 | 0 | 0 | V | 6.655 | 4,2-10,4
|  | 54 | 2.9602e-11 | 2.5931e-07 | 2.5413e-07 | 2.5316e-05 | 3980.5842 | 1418.3385 | 11 | 18 | 0 | 0
|  | 55 | 1.4685e-11 | 1.2864e-07 | 1.2607e-07 | 1.327e-05 | 3980.5842 | 1418.3385 | 11 | 18 | 0 | 0 | Rated | 11
|  | 56 | 7.227e-12 | 6.3309e-08 | 6.2043e-08 | 6.8932e-06 | 3980.5842 | 1418.3385 | 11 | 18 | 0 | 0 | Cut Out | 18
|  | 57 | 3.5285e-12 | 3.091e-08 | 3.0291e-08 | 3.549e-06 | 3980.5842 | 1418.3385 | 11 | 18 | 0 | 0
|  | 58 | 1.7092e-12 | 1.4973e-08 | 1.4673e-08 | 1.8112e-06 | 3980.5842 | 1418.3385 | 11 | 18 | 0 | 0
|  | 59 | 8.2149e-13 | 7.1962e-09 | 7.0523e-09 | 9.1633e-07 | 3980.5842 | 1418.3385 | 11 | 18 | 0 | 0
|  | 60 | 3.9177e-13 | 3.4319e-09 | 3.3633e-09 | 4.596e-07 | 3980.5842 | 1418.3385 | 11 | 18 | 0 | 0
|  | Sum: | 0.9887 | 8660.9908 | 8487.7709 | 3980.5842 |  |  |  | summa | 1019.7695 | MWh
[5 empty] | tredjedel | 1326.8614
[5 empty] | 80% | 3184.4674